## Slide 1: Energy Equalization using Lost Muons

## Slide 2: Summary
Start with 60 hr data – looking at MIPs for triplets for every crystal in MeV – Investigating the current equalization
Detect crystals with anomalous/bad MIP.
Compare the same with 9 days dataset.
Check if an additional equalization will improve MIP distribution or equalization in general
Use the 60 hr dataset to find the new constant and apply to the 9 days and endgame dataset to check for any improvement

## Slide 3
Lost Muons Triplet energy spectrum
E0
E1
E2
Calo 2
Calo 4
Calo 3
E0
E1
E2
Calo 1
Calo 3
Calo 2
E0
E1
E2
Calo 3
Calo 5
Calo 4
Last Calo
Found the MIP distribution of sum of E0, E1 and E2 for each calo (corresponds to all energies of the triplet), as explained in the figure.
Last Calo
Last Calo

## Slide 4: Lost Muons Triplet energy spectrum
Fitted each plot for every crystal with a Gaussian (just about the peak + 15 MeV) and plotted a histogram of all crystals and a graph of MIP Vs. Crystal No to locate the calo and crystals.
All triple coincidences of lost muons with # of hits =1 on crystal 23

## Slide 5
Calo 1 – all Xtals – Checking Equalization of 60 hrs
E1
E0
E2
E0+E1+E2

## Slide 6: Calo 1 – all Xtals – Checking Equalization of 60 hrs – E0+E1+E2

## Slide 7: All calos – all Xtals – Checking Equalization of 60 hrs
Fitted each plot for every crystal with a Gaussian (just about the peak) and plotted their distribution. Spread (s/mean) is ~1%
Separated crystals with lower statistics. Very few such events have higher/lower energy.

## Slide 8: Bad crystals with reasonable stats
All xtal and calo # with MIP <150 or >180 MeV
C:10 X:19
C:16 X:12
C:4 X:25
C:4 X:34

## Slide 9: Data set 9 days (Part 1 - one fourth)
Have similar stats as 60 hr – so can be compared for anomalies
Distribution of MIP peaks are similar and same xtals have a problem
Compared anomalous/bad xtals – C:4 X:25, C:4 X:34, C:10 X:19 and C:16 X:12 of both datasets
Compare all xtals with MIP <160 or >180 MeV

## Slide 10: Compare 9 days (Part 1) with 60 hrs
Bad crystals (detected from 60 hrs set) only
C:10 X:19
C:4 X:25
60 hrs
Part 1 – 9days
C:16 X:12

## Slide 11: Comparing all Calos – 60 hr and full 9 days
Compared Xtal 22 (a central xtal used for previous calibration) for all calos 60 h(rms 2.3) and 9 days(rms 2.27) dataset
Compared Weighted avg all calos 60 h(rms 1.19) and 9 days(rms 0.94) dataset
Note: Analyzed the full 9 days dataset and have same bad crystals. These confirm results of docdb:16874
Calo #
MIP (MeV)
Calo #
MIP (MeV)

## Slide 12: Equalization – new constants
Compared MIP distribution of crystals of both datasets – by fitting the Gaussian distributions.
Found the distribution of the ratio of the two datasets – i.e. MIP9d:MIP60h (should be around unity).
If the spread of the ratio distribution is lower than the spread of the individual distributions then we can expect an improvement with new equalizations.

## Slide 13: Comparing all Calos and Xtals all datasets – 60 hr, 9 days and End Game
MIP of full 9 days endgame and 60 h align well with mean at 170 MeV (all a spread < 1.5%).Means the equalization is fine and laser system is stable/ in good working condition. Lost muon energy spectra are also very consistent.
9 Days
Spread = 1.33%
60 hr
Spread = 1.23%
End Game
Spread = 1.49%
Energy (MeV)

## Slide 14: Ratio of distribution of 90 days to 60 hr
MIP9d:MIP60h – peak ratio at 1. Spread of 0.99%
This spread is < 60h and 9days MIP individually.
An additional equalization constant might improve equalization results. Observe the same for ratios of end game to 9 days.
Applied this correction to the 9 days dataset, by diving these constants obtained from 60 hrs to each crystal of 9 days dataset.
Procedure: Found an average MIP constant for every crystal using Ei/<Ei>, where <Ei> is the average MIP energy obtained from 60 h dataset

## Slide 15: Additional Correction of 9 days Using 60 hrs
The spread of the Gaussian changed from 1.3% to 0.6% for 9 days and from 1.49% to 0.89 for end game which an improvement with new equalization constants.
Energy (MeV)
Spread = 0.60%
C:4 X:34
Spread = 0.89%

## Slide 16: Bad crystals after Correction of 9 days - fixed
Before
After
C:10 X:19
C:16 X:12
C:4 X:25
C:10 X:19
C:16 X:12
C:4 X:25

## Slide 17: Bad crystals after Correction of 9 days – reflection – C:4 X:34
C:4 X:34
C:4 X:34
9 days
60 hrs
Equalization constant is 1.17683
Only crystal that is out of range.
Seems to be a reflection?
Before correction
After correction

## Slide 18: Conclusions
The MIP energy distribution is quite stable for all crystals for datasets 60h, 9 days and endgame and shows a maximum spread of 1.5%. This is less than the 3% fluctuation in the end point energy of 3.1 MeV – which means that the lost muons are suitable for energy equalization.
Detected crystals with anomalous/bad MIP which are C:4 X:25, C:4 X:34, C:10 X:19 and C:16 X:12 for all datasets studied – this matches the studies of docdb 16874.
A distribution of the ratio of MIP9d:MIP60h has a spread <1% which proves an additional correction will improve the MIP distribution.
Applied an additional equalization that improves MIP distribution or equalization in general by almost 50% for 9 days and endgame dataset ( using the 60 hr dataset to find the new constant)

## Slide 19: Back up

## Slide 20: All calos – all Xtals – Checking Equalization of 60 hrs
Fitted each plot for every crystal with a Gussian (just about the peak) and pl
Calo 16 Xtal 47
Abnormal termination of minimization.
Potential problem to fit around the peak??
These are all edge crystals –
Fixed - gaussian fit about mean (180.9)
Added all three energies E0, E1 and E2 corresponding to each calo. Increased statistics considerably and improved the distribution.

## Slide 21: List of bad channels – MIP>180 &<160
60 Hour Dataset
Calo:21 Xtal:8
Calo:20 Xtal:16
Calo:9 Xtal:17
Calo:22 Xtal:17
Calo:23 Xtal:17
Calo:18 Xtal:20
Calo:18 Xtal:40
Calo:17 Xtal:41
Calo:18 Xtal:53
Calo:4 Xtal:25
Calo:10 Xtal:19
Calo:16 Xtal:12
Calo:4 Xtal:34
Note blue is with a different calibration applied
9 days:
Calo:18 Xtal:8
Calo:20 Xtal:8
Calo:21 Xtal:8
Calo:16 Xtal:17
Calo:18 Xtal:23
Calo:3 Xtal:26
Calo:4 Xtal:26
Calo:5 Xtal:26
Calo:6 Xtal:26
Calo:20 Xtal:44
Calo:16 Xtal:53
Calo:17 Xtal:53
Calo:18 Xtal:53
Calo:19 Xtal:53
Calo:20 Xtal:53

## Slide 22: Scatter plot of Mean Vs. Sigma of fits – 60 hr
Tail of the distribution with MIP >180 correspond to C:16 X12, C:10 X:19 etc.